## 5.4.5: Temperature Measurement System (100 points total)

- Thermistor  Characterization  (10 pts total)

  - In the space below, provide the measured sensor resistance variation over the specified temperature range. (10 pts)

- Wheatstone Bridge Design (45 pts total)

  - Sketch below the circuit to convert resistance variation to voltage variation.  Include desired and actual values for circuit components (e.g. resistor values).  (15 pts)

  - Provide below the measured output voltage for nominal (approximately 25C) temperature.  (5 pts)

  - Provide below the measured range of output voltage over specified temperature range (25C to 37C).  (10 pts)

  - DEMO: Have a teaching assistant initial this sheet, indicating that they have observed your circuits’ operation.  (15 pts)

TA Initials: _______

- Difference Amplifier Design  (45 pts total)

  - Provide a sketch of difference amplifier circuit, including desired and actual values for circuit components.  (10 pts)

  - Verify that output voltage increases as temperature increases and decreases as temperature decreases.  Provide below the measured range of output voltage over specified temperature range (25C to 37C) (10 pts)

  - DEMO: Have a teaching assistant initial this sheet, indicating that they have observed your circuits’ operation.  (15 pts)

TA Initials: _______

  - Discuss below the performance of your temperature measurement system performance and comparison with design specifications.  (10 pts)